## Sheet1
id | AuditID | RevisionNumber | FacilityName | FacilityID | Auditor1 | Auditor2 | Auditor3 | AuditDate | RepDate | LinacModel | LinacManufacturer | PlanningSystemManufacturer | tps | Algorithm | kqFac | ACDS | Phantom | fac_6 | fac_10 | fac_15 | fac_18 | fac_6FFF | fac_10FFF | TPR_6 | TPR_10 | TPR_15 | TPR_18 | TPR_6FFF | TPR_10FFF | Reading_101106 | Reading_110106 | Reading_205106 | Reading_208106 | Reading_205206 | Reading_208206 | Reading_205306 | Reading_208306 | Reading_303106 | Reading_305106 | Reading_403106 | Reading_405106 | Reading_103110 | Reading_110110 | Reading_303110 | Reading_305110 | Reading_403110 | Reading_405110 | Reading_103115 | Reading_110115 | Reading_303115 | Reading_305115 | Reading_403115 | Reading_405115 | Reading_103118 | Reading_110118 | Reading_303118 | Reading_305118 | Reading_403118 | Reading_405118 | Reading_101105 | Reading_110105 | Reading_303105 | Reading_305105 | Reading_103109 | Reading_110109 | Reading_303109 | Reading_305109 | Misdelivery_101106 | Misdelivery_110106 | Misdelivery_205106 | Misdelivery_208106 | Misdelivery_205206 | Misdelivery_208206 | Misdelivery_205306 | Misdelivery_208306 | Misdelivery_303106 | Misdelivery_305106 | Misdelivery_403106 | Misdelivery_405106 | Misdelivery_103110 | Misdelivery_110110 | Misdelivery_303110 | Misdelivery_305110 | Misdelivery_403110 | Misdelivery_405110 | Misdelivery_103115 | Misdelivery_110115 | Misdelivery_303115 | Misdelivery_305115 | Misdelivery_403115 | Misdelivery_405115 | Misdelivery_103118 | Misdelivery_110118 | Misdelivery_303118 | Misdelivery_305118 | Misdelivery_403118 | Misdelivery_405118 | Misdelivery_101105 | Misdelivery_110105 | Misdelivery_303105 | Misdelivery_305105 | Misdelivery_103109 | Misdelivery_110109 | Misdelivery_303109 | Misdelivery_305109 | c6_p11_6 | c6_p12_6 | c6_p13_6 | c6_p14_6 | c6_p15_6 | c6_p16_6 | c6_p17_6 | c7_p11_6 | c7_p12_6 | c7_p13_6 | c7_p14_6 | c7_p15_6 | c7_p16_6 | c7_p17_6 | c8_p11_6 | c8_p12_6 | c8_p13_6 | c8_p14_6 | c8_p15_6 | c8_p17_6 | c8_p18_6 | c6_p11_10 | c6_p12_10 | c6_p13_10 | c6_p14_10 | c6_p15_10 | c6_p16_10 | c6_p17_10 | c7_p11_10 | c7_p12_10 | c7_p13_10 | c7_p14_10 | c7_p15_10 | c7_p16_10 | c7_p17_10 | c8_p11_10 | c8_p12_10 | c8_p13_10 | c8_p14_10 | c8_p15_10 | c8_p17_10 | c8_p18_10 | imrt_misdelivery_c6_p11_6 | imrt_misdelivery_c6_p12_6 | imrt_misdelivery_c6_p13_6 | imrt_misdelivery_c6_p14_6 | imrt_misdelivery_c6_p15_6 | imrt_misdelivery_c6_p16_6 | imrt_misdelivery_c6_p17_6 | imrt_misdelivery_c7_p11_6 | imrt_misdelivery_c7_p12_6 | imrt_misdelivery_c7_p13_6 | imrt_misdelivery_c7_p14_6 | imrt_misdelivery_c7_p15_6 | imrt_misdelivery_c7_p16_6 | imrt_misdelivery_c7_p17_6 | imrt_misdelivery_c8_p11_6 | imrt_misdelivery_c8_p12_6 | imrt_misdelivery_c8_p13_6 | imrt_misdelivery_c8_p14_6 | imrt_misdelivery_c8_p15_6 | imrt_misdelivery_c8_p17_6 | imrt_misdelivery_c8_p18_6 | imrt_misdelivery_c6_p11_10 | imrt_misdelivery_c6_p12_10 | imrt_misdelivery_c6_p13_10 | imrt_misdelivery_c6_p14_10 | imrt_misdelivery_c6_p15_10 | imrt_misdelivery_c6_p16_10 | imrt_misdelivery_c6_p17_10 | imrt_misdelivery_c7_p11_10 | imrt_misdelivery_c7_p12_10 | imrt_misdelivery_c7_p13_10 | imrt_misdelivery_c7_p14_10 | imrt_misdelivery_c7_p15_10 | imrt_misdelivery_c7_p16_10 | imrt_misdelivery_c7_p17_10 | imrt_misdelivery_c8_p11_10 | imrt_misdelivery_c8_p12_10 | imrt_misdelivery_c8_p13_10 | imrt_misdelivery_c8_p14_10 | imrt_misdelivery_c8_p15_10 | imrt_misdelivery_c8_p17_10 | imrt_misdelivery_c8_p18_10
| 300 |  | Aardvark |  | Terry | Clem |  | 2012-02-24 |  | TRFF7 | Roland | RAV | Sun | Great | p | p |  | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | -0.3154% | #N/A | 0.6037% | 3.975% | 0.5164% | -45.81% | 2.345% | 6.963% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3002 |  | Abyssinian |  | John | Bec |  | 2012-04-11 |  | 72EER | Roland | IHP | Mountain | Small | p | p |  | 1 | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | -1.446% | #N/A | -3.175% | -2.385% | -2.026% | -17.9% | -2.814% | -1.112% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3003 |  | Adelie Penguin |  | Daisy | Bec |  | 2012-04-13 |  | GD004 | Yamaha | LEK | Sea | Large | p | p |  | 1.008 | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | 0.7934% | 1.561% | -1.648% | 2.022% | 0.8536% | -22.29% | -0.5622% | 3.336% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3004 |  | Affenpinscher |  | Bec | Eric |  | 2012-04-30 |  | KOP12 | Korg | IHP | Mountain | Small | p | p |  | 1.003 | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | -2.324% | -0.6524% | -2.881% | 0.5621% | -2.045% | 4.496% | -0.3154% | -2.522% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
| 3005 |  | Afghan Hound | FAC-057 | Nina | Eric |  | 2012-07-17 | Q3 2012 | JST57 | Korg | LEK | Sea | Tiny | p | p |  | 0.992 | #N/A | #N/A | #N/A | #N/A | #N/A | [6 empty] | 0.7898% | 2.938% | -2.064% | -2.625% | 0.6108% | -31.1% | 0.3028% | 0.6433% | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0
Note on J2: Andrew Alves: formal report not issued
Note on J3: Andrew Alves: formal report not issued
Note on J4: Andrew Alves: formal report not issued
Note on J5: Andrew Alves: formal report not issued